## Slide 1
Honeywell Home
E1 PRO
Thermostat

## Slide 2: Technical Training

## Slide 3: E1 PRO Thermostat (Coming Summer of 2020)
TH1110E1000

## Slide 4: E1 PRO Thermostat Same as the TH1110DH1003 but with a larger display
TH1110DH1003
1.32 sq. in. display
New TH1110E1000
2.38 sq. in. display

## Slide 5: Same terminals as TH1110DH1003

## Slide 6: E1 PRO Thermostats Technical Information
Non-programmable (no schedule)
Model System
TH1110E1000
1 Heat + 1 Cool Conventional
Single Stage Heat Pump without Aux Heat
For heat pump without aux heat-
1. Jump W to Y
2. Set switch to Electric or heat pump.
3. Set heat cycle rate to 3.
Same as TH1110DH1003

## Slide 7: E1 PRO Thermostat Features
Model Features
TH1110E1000
Non-Programmable
Battery powered, hard-wired, or both
Low temperature setting for heat (35F)

## Slide 8: Power Method Options Can be battery powered or powered by Common.
C-Wire
Battery Powered

## Slide 9: Eligible for Private Label Program
Customer to the Contractor
Drop ship to the Contractor – Freight Free
Associate your company name with the Honeywell Home Brand

## Slide 10: Sales Training

## Slide 11: WHO?

## Slide 12: WHAT?

## Slide 13: WHY?

## Slide 14: WHERE?

## Slide 15: WHEN?

## Slide 16: HOW?

## Slide 17: End of Training